📡 WA 09-Telecom Administrator — NEC Study & Reference Guide

A curated resource hub for Washington State 09-Telecommunications Administrator candidates studying the National Electrical Code (NFPA 70), paired with Anki flashcard tools for retention.

Last updated: April 2026 · Exam references: WA L&I 09-Telecommunications Administrator, NEC 2020, RCW 19.28, WAC 296-46B

🗺️ WA 09-Telecom Administrator Exam Blueprint

This is an open-book exam administered by PSI. You must pass each section separately with 70% or greater.

Exam Structure

| Section | Time Allowed | Questions | Passing Score |
| --- | --- | --- | --- |
| NEC & Theory | 2 hours | 30 questions | ≥ 70% |
| WA Codes (RCW & WAC) | 1 hour | 17 questions | ≥ 70% |
| Total | 3 hours | 47 questions | Both sections ≥ 70% |

NEC & Theory Section — Question Distribution

The question counts below are approximate per the official L&I bulletin. Knowledge areas listed without a question count are still in scope but are weighted lightly or combined with adjacent articles.

NEC & Theory — 30 Questions Total
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
Article(s)                                          Questions
──────────────────────────────────────────────────────────────
NEC 90        Introduction                               2  ██
NEC 100-110   General Requirements                       3  ███
NEC 200-225,
  280-285     Wiring & Protection                        —  (in scope, low weight)
NEC 230       Services                                   —  (in scope, low weight)
NEC 240       Overcurrent Protection                     —  (in scope, low weight)
NEC 250       Grounding & Bonding                        3  ███
NEC 300-398   Wiring Methods                             3  ███
NEC 400-427,
  455-480     Electrical Equipment                       —  (in scope, low weight)
NEC 430-450   Motors, HVAC, Generators & Transformers   —  (in scope, low weight)
NEC 490       Equipment > 600 V                          —  (in scope, low weight)
NEC 500-516   Hazardous Locations                        1  █
NEC 517-590   Special Occupancies                        —  (in scope, low weight)
NEC 600-695   Special Equipment                          —  (in scope, low weight)
NEC 700-702   Emergency & Standby Systems                —  (in scope, low weight)
NEC 705-780   Special Conditions                         4  ████
NEC 800-830   Communication Systems ◀ CORE FOCUS         8  ████████
General Trade Knowledge & Theory                         6  ██████
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
WA Laws & Rules (RCW & WAC)                             17  █████████████████
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
TOTAL                                                   47

⚠️ Priority Callouts

NEC 800-830 (Communication Systems) carries the most NEC points — 8 of 30 questions. This is the domain-specific core of the exam. Prioritize Articles 800, 805, 810, 820, and 830 above all other NEC sections.

WA Laws & Rules (RCW & WAC) is worth more than any single NEC section — 17 of 47 total questions. Study RCW 19.28 and WAC 296-46B thoroughly alongside the NEC.

Study Priority Order

| Priority | Section | Questions | Why |
| --- | --- | --- | --- |
| 🥇 Critical | NEC 800-830 Communications Systems | 8 | Domain-specific core |
| 🥇 Critical | WA Laws & Rules (RCW & WAC) | 17 | Largest single section |
| 🥈 High | General Trade Knowledge & Theory | 6 | Broad, requires breadth |
| 🥈 High | NEC 705-780 Special Conditions | 4 | Often overlooked |
| 🥉 Medium | NEC 90, 100-110, 250, 300-398 | 2-3 each | Foundational code |
| ⬇️ Low | All remaining articles | ~0-1 each | In scope; low weight |

📖 NEC / NFPA 70 — Official & Free Access

Free Official Access to NFPA 70

- 🔗 NFPA Free Access Portal — Official NFPA 70 standard development page

- 🔗 NFPA 70 Online (2023 Edition — Preview Mode) — Free online read access (requires free NFPA account for full access)

- 🔗 NFPA Free Codes & Standards List — All NFPA documents available at no cost

- 🔗 NFPA Sign-In / Account Portal — Login to access full code text

Free PDFs & Downloads

- 🔗 NFPA 70 2023 PDF (accindia.org mirror) — Full 2023 NEC PDF

- 🔗 NEC 2017 Handbook PDF (edufire.ir) — NEC Handbook with commentary

- 🔗 Lori's Web — NFPA 70 PDF Archive — Older edition reference

📡 Chapter 8 — Communications Systems (Telco Core)

Chapter 8 of NEC is the primary chapter for telecommunications administrators. It operates independently from Chapters 1–7 except where explicitly referenced. It accounts for 8 of 30 NEC questions on the WA 09 exam — more than any other single article group.

Article 800 — General Requirements for Communications Systems

Article 800 covers general requirements common across all Chapter 8 articles, including grounding, bonding, listing requirements, and installation of communications cables (twisted-pair, coaxial, fiber). High-priority for the exam.

- 🔗 Nassau National Cable — Article 800 Explained — Plain-language breakdown of Article 800 (free)

- 🔗 EC&M — Article 800: Communications Circuits — Code basics overview

- 🔗 EC&M — Article 800 Grounding Rules — Grounding and bonding focus

- 🔗 Mike Holt — Article 800 PDF (free) — Study PDF sample from Mike Holt

- 🔗 Mike Holt — Free Communications Systems PDF (Articles 800, 805, 810, 820) — Free 2020 NEC-based PDF download

- 🔗 MyNFPA70.com — Chapter 8 Overview — Chapter 8 article index

Article 805 — Communications Circuits

Article 805 covers wiring methods, cable types, and installation requirements for communications circuits (voice, data, low-voltage signaling) from the service point to terminal equipment.

- 🔗 MyNFPA70.com — Chapter 8 (Articles Index) — Includes Article 805 navigation

- 🔗 Mike Holt — Free Communications PDF (includes 805) — Covers 800/805/810/820 in one guide

- 🔗 ElectricalLicenseRenewal.com — Article 800/805 Content — CE course-style breakdown

Article 810 — Antenna Systems

Article 810 covers antenna systems for radio and television reception, including grounding of masts, lead-in conductors, and satellite dishes.

- 🔗 Mike Holt — Free Communications PDF (includes 810)

- 🔗 MyNFPA70.com — Chapter 8 Articles Index

Article 820 — Community Antenna TV / Radio Distribution (CATV/Coax)

Article 820 covers coaxial cable systems used for distributing high-frequency signals — cable TV, CATV, CCTV, and broadband over coax.

- 🔗 Scribd — NEC Articles 800, 810, 820 PDF — Free read access

- 🔗 Syston Cable — Communications Cables NEC Ratings PDF — Cable ratings and Article 820 reference

- 🔗 Mike Holt — Free Communications PDF (includes 820)

Article 830 — Network-Powered Broadband Communications

Article 830 covers network-powered broadband systems (e.g., fiber + power combined delivery systems from utility to premises).

- 🔗 MyNFPA70.com — Chapter 8 Articles Index

- 🔗 NFPA 70 Online (2023) — Free preview; full access with free account

Article 840 — Premises-Powered Broadband Communications

Article 840 covers optical fiber-based broadband systems where power is supplied from the customer premises (e.g., ONT installations for fiber internet — directly relevant to FTTH/FTTx telecom work).

- 🔗 MyNFPA70.com — Chapter 8 Articles Index

- 🔗 NFPA 70 Online (2023)

🔧 Related Standards & Codes for Telecom Admins

BICSI & Structured Cabling Standards

- 🔗 BICSI Official Site — Industry body for telecom infrastructure; free resources for members, some public

- 🔗 BICSI Codes, Standards & Regulations Reference (Scribd) — Free read

- 🔗 ANSI/NECA/BICSI 568 Reference (via Mike Holt Article 800 PDF) — Referenced directly in NEC Article 800 for cabling installation

- 🔗 Fresno State Telecom Infrastructure Design Standards PDF — Real-world institutional standards doc (free)

Additional Free Study References

- 🔗 Studylib — NFPA 70 NEC 2023 — Searchable online NEC 2023

- 🔗 EC&M Code Basics Library — Free NEC article explanations by EC&M magazine

- 🔗 ElectricalLicenseRenewal.com — NEC Content Library — Free NEC article summaries in CE format

- 🔗 NFPA — Understanding NFPA 70 Overview — Official NFPA intro guide

📝 Practice Questions & Tests

ℹ️ Note on scope: The free practice resources below cover the full NEC (all chapters and articles). The WA 09-Telecom Administrator exam draws from a specific subset of NEC articles — use the blueprint above to prioritize your study time. Focus the most practice on:

⭐ WA 09-Telecom Specific Practice Tests

Purpose-built for the Washington State 09-Telecommunications Administrator exam using NEC 2020, RCW 19.28, and WAC 296-46B:

- 🔗 ContractorTests.com — WA 09 Telecommunications Administrator Practice Test — 2,400+ questions with answer keys and code references (paid)

- 🔗 DakotaPrep — WA Electrical Administrator Exam Prep — Includes 09-Telecom topic breakdown

- 🔗 PSI Candidate Information Bulletin (PDF) — Official exam instructions from the testing provider

- 🔗 L&I — Telecommunications Administrator Exam Page — Official Washington L&I page

🆓 Free General NEC Practice Questions

These cover broad NEC content. Filter your study toward the telco admin blueprint sections listed above:

- 🔗 ElectricianExamPracticeTests.com — Ohm's Law Test Questions — Electrical theory fundamentals

- 🔗 ThompsonLearningCo.com — Free Electrician Exam Practice Test (2020 NEC) — General NEC 2020 questions

- 🔗 EC&M Code Basics Library — Free NEC article explanations

- 🔗 ElectricalLicenseRenewal.com — NEC Content Library — CE-format article summaries

- 🔗 NFPA — Understanding NFPA 70 Overview — Official NFPA intro

📺 Video Study — WA Telecom Exam

- 🔗 YouTube — Washington State 09-Telecommunications Exam — Exam-focused video walkthrough

- 🔗 YouTube — Mastering the WA State Electrical Administrator's Exam — Covers NEC, WA codes, and test strategy

🃏 Anki — Flashcard Study Tools

Use Anki (Desktop & Web)

- 🔗 AnkiWeb — Use Online (No Download) — Study in browser, sync across devices

- 🔗 Download Anki Desktop — Windows, Mac, Linux

AnkiDroid (Android)

- 🔗 AnkiDroid — Google Play Store

Anki Tutorial

- 🔗 Anki Tutorial Video (YouTube)

⚙️ Recommended Anki Settings for NEC Study

Optimized Settings (FSRS + V3 Scheduler)

| Setting | Recommended Value | Notes |
| --- | --- | --- |
| Scheduler | V3 (auto in modern Anki) | Required for FSRS |
| FSRS | Enabled | Best retention algorithm |
| Desired Retention | 90–95% | 95% = 2x workload; 90% is a solid balance |
| Learning Steps | 25m | Single intraday step; FSRS-compatible |
| Relearning Steps | 10m | For lapsed/forgotten cards |
| Graduating Interval | 3d | First review interval after graduating |
| Easy Interval | 4d | Skip-ahead interval for instant recalls |
| New Cards/Day | 9999 (or your pace) | Don't let Anki cap your flow |
| Maximum Reviews/Day | 9999 | Let FSRS manage the queue |

Button Guide: Press Again only when wrong. Press Good as your default correct answer. Use Hard sparingly for correct-but-difficult. Use Easy only when the card was instant and effortless.

Last updated: April 2026 · Exam references: WA L&I 09-Telecommunications Administrator, NEC 2020, RCW 19.28, WAC 296-46B